## Slide 1: SAMOS Spectroscopic Pipeline
V1.0
12/19/2024

## Slide 2: Galaxy Cluster Abell 3120

## Slide 3: Preparatory Work
All raw images are collected and organized in directories, one for each night.
Fits headers finalized, as needed
For inspection, a Python script creates “log-books” for both SAMI and SISI images, with basic parameter and image postage stamps, visible as public. html file.

## Slide 4: Log book examples

## Slide 5: SISI images before/after slit upload

## Slide 6: SAMI spectra taken simultaneously

## Slide 7: PART 1: full field calibration

## Slide 8: Cleanup: remove cosmic rays (currently uses LA_COSMIC)
Science Frame

## Slide 9: Calibration: remove cosmic rays (currently uses LA_COSMIC)
Flat Frame

## Slide 10: Calibration: remove cosmic rays (currently uses LA_COSMIC)
Bias Frame

## Slide 11: Calibration: remove bias
Arc Frame
stray light from blasting cal.source

## Slide 12: Calibration: remove cosmic rays (currently uses LA_COSMIC)
Arc Frame
Stray light, no slits

## Slide 13: Calibration: remove cosmic rays (currently uses LA_COSMIC)
Arc Frame
after stray light subtraction

## Slide 14: Use shift & diff to find edges of traces
at center field, uses arc frame

## Slide 15: Extract the 2d spectra…

## Slide 16: PART 2: process individual strips
Iterative process, one example shown

## Slide 17: Find curvature and map traces

## Slide 18: Extract Flat Field
original
smoothed

## Slide 19: Extract stellar trace and apply flat field

## Slide 20: Rectify stellar spectrum

## Slide 21: Coadd to obtain 1d spectrum

## Slide 22: PART 3: wavelength calibration
Identify lines and fit with 3rd order polynomial. Residuals < 1 A

## Slide 23: A wavelength calibrated spectrum

## Slide 24: Final step
Calibration to flux, requires spectrophotometric standard

## Slide 25: Final: put everything together in MOSViz

## Slide 26: Notes:
Requires final list of slit pushed to the DMD in SIMI (x,y) pixels
  Uses WCS and mapping CCD/DMD
From SISI images slit losses can be precisely estimated. It allows absolute calibration of flux of each target vs. spectrum of spectrophotometric standard